## Registro Ordenado
N° Entrada | Fecha | Hora | Día | Evento | Hoja de origen
1 | 2026-06-06 | 13:29 | SAT | PISO 2 NIVEL MECANICO SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
3 | 2026-06-06 | 13:30 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
2 | 2026-06-06 | 13:30 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
4 | 2026-06-06 | 13:30 | SAT | PISO 2 PALANCA NIVEL MECANICO PULL STATION FIRE ALARM | Hoja1
6 | 2026-06-06 | 13:30 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
5 | 2026-06-06 | 13:30 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
7 | 2026-06-06 | 13:34 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
8 | 2026-06-06 | 13:38 | SAT | PISO 2 PALANCA PASILLO PONIENTE PULL STATION DATA NOT AVAILABLE | Hoja1
10 | 2026-06-06 | 13:38 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
9 | 2026-06-06 | 13:38 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
11 | 2026-06-06 | 13:39 | SAT | PISO 2 PASILLO CONTABILIDAD Y FINANZAS SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
13 | 2026-06-06 | 13:39 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
12 | 2026-06-06 | 13:39 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
14 | 2026-06-06 | 13:39 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
15 | 2026-06-06 | 13:43 | SAT | PISO 2 PALANCA PASILLO PENSIONADO ION FIRE ALARM | Hoja1
17 | 2026-06-06 | 13:44 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
16 | 2026-06-06 | 13:44 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
18 | 2026-06-06 | 13:44 | SAT | PISO 2 SALA 205 PENSIONADO SMOKE DETECTOR TEST ABNORMAL | Hoja1
20 | 2026-06-06 | 13:44 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
19 | 2026-06-06 | 13:44 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
21 | 2026-06-06 | 13:45 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
22 | 2026-06-06 | 13:46 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
23 | 2026-06-06 | 13:47 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
24 | 2026-06-06 | 14:00 | SAT | PISO 2 PALANCA PASILLO PONIENTE UNACESS PULL STATION FIRE ALARM | Hoja1
25 | 2026-06-06 | 14:00 | SAT | PISO 2 PASILLO UNACESS SMOKE DETECTOR TEST ABNORMAL | Hoja1
26 | 2026-06-06 | 14:00 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
28 | 2026-06-06 | 14:01 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
29 | 2026-06-06 | 14:09 | SAT | PISO 2 PASILLO UNACESS SMOKE DETECTOR TEST ABNORMAL | Hoja1
31 | 2026-06-06 | 14:09 | SAT | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Hoja1
30 | 2026-06-06 | 14:09 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
32 | 2026-06-06 | 14:10 | SAT | PISO 2 PASILLO UNACESS SMOKE DETECTOR TEST ABNORMAL | Hoja1
35 | 2026-06-06 | 14:10 | SAT | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Hoja1
33 | 2026-06-06 | 14:10 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
34 | 2026-06-06 | 14:10 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
36 | 2026-06-06 | 14:11 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
37 | 2026-06-06 | 14:13 | SAT | PISO 2 PASILLO AREA PROCEDIMIENTOS SMOKE DETECTOR TEST ABNORMAL | Hoja1
39 | 2026-06-06 | 14:13 | SAT | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Hoja1
38 | 2026-06-06 | 14:13 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
40 | 2026-06-06 | 14:13 | SAT | PISO 2 SALA ESPERA AREA PROCEDIMIENTOS SMOKE DETECTOR TEST ABNORMAL | Hoja1
44 | 2026-06-06 | 14:13 | SAT | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Hoja1
41 | 2026-06-06 | 14:13 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
42 | 2026-06-06 | 14:13 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
43 | 2026-06-06 | 14:13 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
45 | 2026-06-06 | 14:13 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
46 | 2026-06-06 | 14:16 | SAT | PISO 2 SALA ESPERA TOMA MUESTRA SMOKE DETECTOR TEST ABNORMAL | Hoja1
49 | 2026-06-06 | 14:17 | SAT | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Hoja1
47 | 2026-06-06 | 14:17 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
48 | 2026-06-06 | 14:17 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Hoja1
50 | 2026-06-06 | 14:17 | SAT | PISO 2 PALANCA PASILLO TOMA MUESTRAS PULL STATION FIRE ALARM | Hoja1
53 | 2026-06-06 | 14:17 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
51 | 2026-06-06 | 14:17 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
52 | 2026-06-06 | 14:17 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
54 | 2026-06-06 | 14:17 | SAT | PISO 2 PALANCA PASILLO TOMA MUESTRAS PULL STATION FIRE ALARM | Hoja1
56 | 2026-06-06 | 14:17 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
55 | 2026-06-06 | 14:18 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
57 | 2026-06-06 | 14:18 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
58 | 2026-06-06 | 14:27 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL NTRY 59 16:01:34 SAT 06-JUN-26 PISO 1 FLUJO SPK SECTORES DE MANIFOLD FIRE MONITOR ZONE FIRE ALARM | Hoja1
61 | 2026-06-06 | 16:02 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 BOMBAS PARTIDA BOMBA PRINCIPAL -26 SALA DE FIRE MONITOR ZONE FIRE ALARM | Hoja1
60 | 2026-06-06 | 16:02 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
64 | 2026-06-06 | 16:02 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 O SPK SECTOR A MANIFOLD PISO 1 FLUJ FIRE MONITOR ZONE FIRE ALARM | Hoja1
63 | 2026-06-06 | 16:02 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
67 | 2026-06-06 | 16:04 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 68 16:04:53 SAT 06-JUN-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM | Hoja1
66 | 2026-06-06 | 16:04 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
70 | 2026-06-06 | 16:05 | SAT | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
69 | 2026-06-06 | 16:05 | SAT | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
71 | 2026-06-06 | 16:22 | SAT | SYSTEM RESET REQUESTED AT MAIN PANEL AREA DISTRIBUCION COCINA CASINO 26 ZOCALO SMOKE DETECTOR FIRE ALARM | Hoja1
73 | 2026-06-07 | 12:45 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
74 | 2026-06-07 | 12:45 | SUN | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
75 | 2026-06-07 | 12:50 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
76 | 2026-06-07 | 13:21 | SUN | PISO 1 PALANCA PASILLO MEDICINA FISICA PULL STATION DATA NOT AVAILABLE | Hoja1
77 | 2026-06-07 | 13:21 | SUN | PISO 1 PASILLO INTERNO MEDICINA FISICA SMOKE DETECTOR DATA NOT AVAILABLE ANCA PASILLO MEDICINA FISICA 01-JUN-26 PISO 1 PAL PULL STATION FIRE ALARM | Hoja1
79 | 2026-06-07 | 13:23 | SUN | PISO 1 PALANCA PASILLO MEDICINA FISICA PULL STATION FIRE ALARM | Hoja1
80 | 2026-06-07 | 13:24 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL MS ACKNOWLEDGED AT NODE 17-JUN-26 FIRE ALAR | Hoja1
82 | 2026-06-07 | 13:24 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
83 | 2026-06-07 | 13:25 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
84 | 2026-06-07 | 13:25 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL 85 13:27:24 SUN 07-JUN-26 PISO 1 ESTACIONAMIE CAMILLAS CAE ADULTOS SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
86 | 2026-06-07 | 13:27 | SUN | PISO 1 PALANCA PASILLO CAE ADULTOS PULL STATION DATA NOT AVAILABLE | Hoja1
87 | 2026-06-07 | 13:28 | SUN | PISO 1 PALANCA PASILLO CAE ADULTOS PULL STATION FIRE ALARM | Hoja1
88 | 2026-06-07 | 13:29 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
89 | 2026-06-07 | 13:29 | SUN | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
90 | 2026-06-07 | 13:29 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
91 | 2026-06-07 | 13:33 | SUN | PISO 1 PASILLO INTERNO TRABAJO SOCIAL SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
92 | 2026-06-07 | 13:34 | SUN | PISO 1 SERVICIO DE ATENCION AL USUARIO OT AVAILABLE SMOKE DETECTOR DATA N | Hoja1
93 | 2026-06-07 | 13:37 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
94 | 2026-06-07 | 13:37 | SUN | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
95 | 2026-06-07 | 13:37 | SUN | ALARM SILENCE REQUESTED AT MAIN PANEL 26 SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
97 | 2026-06-07 | 13:38 | SUN | PISO 1 PALANCA PASILLO INTERNO DIALISIS PULL STATION DATA NOT AVAILABLE | Hoja1
98 | 2026-06-07 | 13:38 | SUN | PISO 1 PASILLO INTERNO UNIDAD DIALISIS SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
99 | 2026-06-07 | 13:40 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
100 | 2026-06-07 | 13:40 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
101 | 2026-06-07 | 13:40 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL TRY 102 13:40:23 SUN 07-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
103 | 2026-06-07 | 13:40 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
104 | 2026-06-07 | 13:51 | SUN | ZOCALO CASA ACOGIDA PALANCA COCINA COMED PULL STATION DATA NOT AVAILABLE | Hoja1
105 | 2026-06-07 | 13:51 | SUN | PISO 1 CASA ACOGIDA PASILLO HABITACIONES SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
106 | 2026-06-07 | 13:51 | SUN | ZOCALO CASA ACOGIDA PALANCA COCINA COMED PULL STATION FIRE ALARM ANELY 107 13:51:30 SUN 07-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN P | Hoja1
108 | 2026-06-07 | 13:52 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
109 | 2026-06-07 | 13:52 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
110 | 2026-06-07 | 13:52 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL RY 111 13:51:32 SUN 07-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
112 | 2026-06-07 | 13:52 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
113 | 2026-06-07 | 14:23 | SUN | ZOCALO PASILLO HOSPITALIZA UHCIP ADULTO SMOKE DETECTOR DATA NOT AVAILABLE 26 ZOCALO PASILLO INTERNO HOSP UHCIP ADULTO SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
115 | 2026-06-07 | 14:28 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
116 | 2026-06-07 | 14:28 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 14:27:37 SUN 07-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
118 | 2026-06-07 | 14:28 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
119 | 2026-06-07 | 14:32 | SUN | ZOCALO PALANCA PASILLO ANATOMIA PATOLOGI PULL STATION DATA NOT AVAILABLE | Hoja1
120 | 2026-06-07 | 14:33 | SUN | ZOCALO PASILLO AREA ANATOMIA PATOLOGICA SMOKE DETECTOR TEST ABNORMAL | Hoja1
121 | 2026-06-07 | 14:33 | SUN | ZOCALO PASILLO INTERNO CENTRAL ALIMENTAC SMOKE DETECTOR TEST ABNORMAL | Hoja1
122 | 2026-06-07 | 14:33 | SUN | ZOCALO PASILLO INTERNO CENTRAL ALIMENTAC SMOKE DETECTOR TEST ABNORMAL | Hoja1
123 | 2026-06-07 | 14:35 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
124 | 2026-06-07 | 14:35 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL MS ACKNOWLEDGED AT NODE 107-JUN-26 FIRE ALAR | Hoja1
126 | 2026-06-07 | 14:35 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
127 | 2026-06-07 | 14:36 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
128 | 2026-06-07 | 14:40 | SUN | ZOCALO PASILLO MANTENIMIENTO SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
129 | 2026-06-07 | 14:40 | SUN | ZOCALO PALANCA PASILLO VESTIDORES PERSON PULL STATION DATA NOT AVAILABLE | Hoja1
130 | 2026-06-07 | 14:41 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
131 | 2026-06-07 | 14:41 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
132 | 2026-06-07 | 14:41 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 18 SUN 07-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
134 | 2026-06-07 | 14:41 | SUN | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
135 | 2026-06-07 | 14:41 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
136 | 2026-06-07 | 14:43 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
137 | 2026-06-07 | 14:44 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
138 | 2026-06-07 | 14:47 | SUN | ZOCALO PALANCA PASILLO MANTENIMIENTO PULL STATION DATA NOT AVAILABLE | Hoja1
139 | 2026-06-07 | 14:48 | SUN | ZOCALO PASILLO MOVILIZACION AMBULANCIAS SMOKE DETECTOR DATA NOT AVAILABLE | Hoja1
140 | 2026-06-07 | 14:48 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
141 | 2026-06-07 | 14:48 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
142 | 2026-06-07 | 14:48 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
143 | 2026-06-07 | 14:48 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 44 14:48:24 SUN 07-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 SUN 07-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL 6 SYSTEM RESET REQUESTED AT MAIN PANEL n OR CTRL-X to abortt Scree | Hoja1
149 | 2026-06-07 | 14:48 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
150 | 2026-06-07 | 17:10 | SUN | ZOCALO FLUJO SPK SECTOR A MANIFOLD TA NOT AVAILABLE MONITOR ZONE DA RY 151 17:12:16 SUN 07-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
152 | 2026-06-07 | 17:12 | SUN | FIRE ALARMS ACKNOWLEDGED AT NODE 1 01-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL UJO SPK B Y REAS MANIFOLD 01-JUN-26 ZOCALO FL FIRE MONITOR ZONE DATA NOT AVAILABLE BOMBA PRINCIPAL 18 SUN 07-JUN-26 SALA DE BOMBAS PARTIDA FIRE MONITOR ZONE DATA NOT AVAILABLE 07-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
157 | 2026-06-07 | 17:18 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
158 | 2026-06-07 | 17:18 | SUN | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 159 17:18:12 SUN 07-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 GED AT NODE 01:13:00 SUN 07-JUN-26 FIRE ALARMS ACKNOWLED RESET REQUESTED AT MAIN PANELUN-26 SYSTEM next Screen OR CTRL-X to abort | Hoja1
162 | 2026-06-07 | 17:19 | SUN | SYSTEM RESET REQUESTED AT MAIN PANEL 17:19:31 SUN 07-JUN-26 ZOCALO FLUJO SPK SECTORES DE MANIFOLD FIRE MONITOR ZONE DATA NOT AVAILABLE 64 17:19:36 SUN 07-JUN-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL IRE ALARM FIRE MONITOR ZONE F | Hoja1
165 | 2026-06-07 | 17:20 | SUN | ZOCALO FLUJO SPK SECTORES DE MANIFOLD FIRE ALARM OR ZONE ALO FLUJO SPK SECTORES DE MANIFOLD ZOC FIRE MONITOR ZONE FIRE ALARM | Hoja1
167 | 2026-06-07 | 17:20 | SUN | ZOCALO FLUJO SPK SECTORES DE MANIFOLD ITOR ZONE FIRE ALARM | Hoja1
168 | 2026-06-07 | 17:20 | SUN | ZOCALO FLUJO SPK SECTORES DE MANIFOLD TOR ZONE FIRE ALARM ZOCALO FLUJO SPK SECTORES DE MANIFOLD E FIRE ALARM ZON ENT AT MAIN PANEL SUN 07-JUN-26 EXTERNAL ACK REQUESTS S AT MAIN PANEL22:51 SUN 07-JUN-26 EXTERNAL ACK REQUESTS SENT | Hoja1
172 | 2026-06-07 | 17:23 | SUN | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
174 | 2026-06-08 | 17:32 | MON | SYSTEM RESET REQUESTED AT MAIN PANEL NTRY 175 17:34:43 MON 08-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL MON 08-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL MON 08-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL SYSTEM RESET REQUESTED AT MAIN PANEL ESTED AT MAIN PANEL MON 08-JUN-26 SYSTEM RESET REQU | Hoja1
180 | 2026-06-08 | 17:35 | MON | SYSTEM RESET REQUESTED AT MAIN PANEL 1 day, 11:23:00 MON 08-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL RESET REQUESTED AT MAIN PANELUN-26 SYSTEM STED AT MAIN PANEL MON 08-JUN-26 SYSTEM RESET REQUE | Hoja1
184 | 2026-06-08 | 17:35 | MON | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
185 | 2026-06-08 | 17:41 | MON | SYSTEM RESET REQUESTED AT MAIN PANEL 08-JUN-26 ALARM SILENCE REQUESTED AT MAIN PANEL ESTED AT MAIN PANEL MON 08-JUN | Hoja1
188 | 2026-06-09 | 9:04 | TUE | PISO 1 KITCHENETTE FACILITADOR INTERCULT SMOKE DETECTOR FIRE ALARM | Hoja1
189 | 2026-06-09 | 9:04 | TUE | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
190 | 2026-06-09 | 9:04 | TUE | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
191 | 2026-06-09 | 9:08 | TUE | SYSTEM RESET REQUESTED AT MAIN PANEL NTRY 192 11:47:53 WED 10-JUN-26 ZOCALO AREA DISTRIBUCION COCINA CASINO ETECTOR FIRE ALARM ANELY 193 11:47:59 WED 10-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN P | Hoja1
194 | 2026-06-10 | 11:48 | WED | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
195 | 2026-06-10 | 11:48 | WED | SYSTEM RESET REQUESTED AT MAIN PANEL IA6 09:51:41 THU 11-JUN-26 PISO 1 CARROS TRANSITO DISPENSA FARMAC SMOKE DETECTOR FIRE ALARM UN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL THU 11-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 UESTED AT MAIN PANEL THU 11-JUN-26 SYSTEM RESET | Hoja1
200 | 2026-06-12 | 14:13 | FRI | PISO 1 KITCHENETTE CENTRAL DISTRIBUCION MOKE DETECTOR FIRE ALARM | Hoja1
201 | 2026-06-12 | 14:14 | FRI | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL FRI 12-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 RESET REQUESTED AT MAIN PANELJUN-26 SYSTEM | Hoja1
204 | 2026-06-15 | 10:35 | MON | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
206 | 2026-06-17 | 8:45 | WED | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
207 | 2026-06-17 | 8:45 | WED | FIRE ALARMS ACKNOWLEDGED AT NODE 1 8 08:45:50 WED 17-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
209 | 2026-06-18 | 12:33 | THU | ZOCALO AREA DISTRIBUCION COCINA CASINO FIRE ALARM TECTOR AT MAIN PANEL33:04 THU 18-JUN-26 EXTERNAL ACK REQUESTS SENT | Hoja1
211 | 2026-06-18 | 12:33 | THU | FIRE ALARMS ACKNOWLEDGED AT NODE 1 TEM RESET REQUESTED AT MAIN PANEL26 SYS | Hoja1
213 | 2026-06-18 | 19:09 | THU | PISO 1 PASILLO INTERNO PACIENTE CRITICO SMOKE DETECTOR FIRE ALARM NT AT MAIN PANEL5 THU 18-JUN-26 EXTERNAL ACK REQUESTS SE | Hoja1
215 | 2026-06-18 | 19:09 | THU | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
216 | 2026-06-18 | 19:25 | THU | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
217 | 2026-06-18 | 19:29 | THU | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
218 | 2026-06-18 | 20:16 | THU | SYSTEM RESET REQUESTED AT MAIN PANEL 18-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
222 | 2026-06-18 | 20:17 | THU | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
223 | 2026-06-18 | 20:17 | THU | PISO 1 PASILLO INTERNO PACIENTE CRITICO FIRE ALARM ECTOR :13 THU 18-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
225 | 2026-06-18 | 20:17 | THU | FIRE ALARMS ACKNOWLEDGED AT NODE 1 EQUESTED AT MAIN PANELTHU 18-JUN-26 SYSTEM RESET R 04-JUN-26 ZOCALO ESTAR PERSONAL ESTERILIZACION DETECTOR FIRE ALARM AT MAIN PANEL19:23 WED 24-JUN-26 EXTERNAL ACK REQUESTS SENT LEDGED AT NODE 1 WED 24-JUN-26 FIRE ALARMS ACKNOW | Hoja1
230 | 2026-06-24 | 9:28 | WED | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
231 | 2026-06-25 | 9:11 | THU | PISO 2 BANO PERSONAL PASILLO ORIENTE SMOKE DETECTOR FIRE ALARM :35 THU 25-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 1NTRY 233 09:11:35 THU 25-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE abort RETURN for next Screen OR CTRL-X to | Hoja1
234 | 2026-06-25 | 9:13 | THU | SYSTEM RESET REQUESTED AT MAIN PANEL TERILIZ35 12:51:23 THU 02-JUL-26 ZOCALO LAVADO DESCONTAMINACION ES SMOKE DETECTOR FIRE ALARM 01-JUL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
237 | 2026-07-02 | 12:52 | THU | FIRE ALARMS ACKNOWLEDGED AT NODE 1 N PANEL38 13:05:59 THU 02-JUL-26 SYSTEM RESET REQUESTED AT MAI TAR MEDICOS AREA PABELLONES 01-JUL-26 PISO 1 ES SMOKE DETECTOR FIRE ALARM 240 11:33:14 MON 06-JUL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL MON 06-JUL-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
242 | 2026-07-06 | 11:34 | MON | PISO 1 ESTAR MEDICOS AREA PABELLONES SMOKE DETECTOR FIRE ALARM AT MAIN PANEL4:08 MON 06-JUL-26 EXTERNAL ACK REQUESTS SENT DE 1 244 11:34:08 MON 06-JUL-26 FIRE ALARMS ACKNOWLEDGED AT NO ES 245 11:35:25 MON 06-JUL-26 PISO 1 ESTAR MEDICOS AREA PABELLON SMOKE DETECTOR FIRE ALARM | Hoja1
246 | 2026-07-06 | 11:36 | MON | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 11:35:35 MON 06-JUL-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
251 | 2026-07-07 | 18:12 | TUE | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL DE 1 252 18:11:57 TUE 07-JUL-26 FIRE ALARMS ACKNOWLEDGED AT NO 07-JUL-26 SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
254 | 2026-07-07 | 18:17 | TUE | PISO 3 BANO PERSONAL CUIDA BASICOS MUJER SMOKE DETECTOR FIRE ALARM 26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
256 | 2026-07-07 | 18:17 | TUE | FIRE ALARMS ACKNOWLEDGED AT NODE 1 M RESET REQUESTED AT MAIN PANELL-26 SYSTE 07:45:54 WED 08-JUL-26 PISO 1 BANO CAE ADULTOS SMOKE DETECTOR FIRE ALARM | Hoja1
259 | 2026-07-08 | 7:46 | WED | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL KNOWLEDGED AT NODE 1 WED 08-JUL-26 FIRE ALARMS AC SET REQUESTED AT MAIN PANEL8-JUL-26 SYSTEM RE een OR CTRL-X to abortScr | Hoja1
265 | 2026-07-08 | 15:30 | WED | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
266 | 2026-07-10 | 12:20 | FRI | ZOCALO CASA ACOGIDA COMEDOR FIRE ALARM | Hoja1
267 | 2026-07-10 | 12:20 | FRI | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
268 | 2026-07-10 | 12:20 | FRI | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
269 | 2026-07-10 | 12:28 | FRI | SYSTEM RESET REQUESTED AT MAIN PANEL PONIENTE ESPECIA ODONTOLON 12-JUL-26 PISO 2 PASILLO SMOKE DETECTOR FIRE ALARM 6 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL IRE ALARMS ACKNOWLEDGED AT NODE 16 F ESTED AT MAIN PANEL SUN 12-JUL-26 SYSTEM RESET REQU NIENTE ESPECIA ODONTOLOTUE 21-JUL-26 PISO 2 PASILLO PO ALARM SMOKE DETECTOR FIRE T MAIN PANEL:13:56 TUE 21-JUL-26 EXTERNAL ACK REQUESTS SENT A TRL-X to abortor next Screen OR C rvice Port | Hoja1
276 | 2026-07-21 | 10:14 | TUE | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
277 | 2026-07-21 | 10:21 | TUE | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
279 | 2026-07-23 | 12:21 | THU | PISO 2 PASILLO PONIENTE ESPECIA ODONTOLO SMOKE DETECTOR FIRE ALARM THU 23-JUL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
278 | 2026-07-23 | 12:25 | THU | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
281 | 2026-07-23 | 12:25 | THU | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
282 | 2026-07-23 | 12:26 | THU | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
283 | 2026-07-23 | 12:26 | THU | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL SET REQUESTED AT MAIN PANEL3-JUL-26 SYSTEM RE 06:26:00 THU 23-JUL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
286 | 2026-07-23 | 12:27 | THU | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
287 | 2026-07-23 | 12:28 | THU | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 288 12:28:12 THU 23-JUL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 9 12:28:48 THU 23-JUL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL THU 23-JUL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL UL-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 26 SYSTEM RESET REQUESTED AT MAIN PANEL OR CTRL-X to abortext Screen | Hoja1
295 | 2026-07-28 | 12:20 | TUE | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
296 | 2026-07-28 | 12:20 | TUE | FIRE ALARMS ACKNOWLEDGED AT NODE 1 ESET REQUESTED AT MAIN PANEL-JUL-26 SYSTEM R ZOCALO ZONA DESCARGA ESTERILIZACION SMOKE DETECTOR FIRE ALARM | Hoja1
299 | 2026-07-28 | 16:35 | TUE | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL E 28-JUL-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 SYSTEM RESET REQUESTED AT MAIN PANEL NTRY 302 17:30:12 WED 29-JUL-26 ZOCALO ZONA DESCARGA ESTERILIZACION SMOKE DETECTOR FIRE ALARM | Hoja1
303 | 2026-07-29 | 17:30 | WED | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL 29-JUL-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 WED 29-JUL-26 ZOCALO ZONA DESCARGA ESTERILIZACION SMOKE DETECTOR FIRE ALARM | Hoja1
307 | 2026-07-29 | 17:33 | WED | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
308 | 2026-07-29 | 17:35 | WED | SYSTEM RESET REQUESTED AT MAIN PANEL TUE 04-AUG-26 PISO 3 FLUJO GABINETES RED HUMEDA FIRE MONITOR ZONE DATA NOT AVAILABLE MBAS PARTIDA BOMBA PRINCIPAL SALA DE BO FIRE MONITOR ZONE FIRE ALARM | Hoja1
311 | 2026-08-04 | 17:44 | TUE | SALA DE BOMBAS FLUJO ACTIVO SALA BOMBAS FIRE MONITOR ZONE FIRE ALARM | Hoja1
312 | 2026-08-04 | 17:46 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL IRE MONITOR ZONE FIRE ALARM 13 17:46:12 TUE 04-AUG-26 SALA DE BOMBAS FLUJO ACTIVO SALA BOMBAS IRE ALARM FIRE MONITOR ZONE F RED HUMEDA 22 TUE 04-AUG-26 PISO 3 FLUJO GABINETES FIRE ALARM FIRE MONITOR ZONE UESTS SENT AT MAIN PANELE 04-AUG-26 EXTERNAL ACK REQ LEDGED AT NODE 1 TUE 04-AUG-26 FIRE ALARMS ACKNOW KNOWLEDGED AT NODE 1 TUE 04-AUG-26 FIRE ALARMS AC | Hoja1
321 | 2026-08-04 | 17:52 | TUE | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
322 | 2026-08-04 | 17:53 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL ONITOR ZONE FIRE ALARM | Hoja1
323 | 2026-08-04 | 17:53 | TUE | ALARM SILENCE REQUESTED AT MAIN PANEL AUG-26 PISO 3 FLUJO GABINETES RED HUMEDA FIRE MONITOR ZONE FIRE ALARM | Hoja1
325 | 2026-08-04 | 17:54 | TUE | PISO 3 FLUJO SPK SECTORES B C MANIFOLD FIRE MONITOR ZONE DATA NOT AVAILABLE 326 17:55:06 TUE 04-AUG-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE ALARM FIRE MONITOR ZONE AT MAIN PANEL55:46 TUE 04-AUG-26 ALARM SILENCE REQUESTED OMBAS PARTIDA BOMBA PRINCIPAL AUG-26 SALA DE B FIRE MONITOR ZONE FIRE ALARM | Hoja1
329 | 2026-08-04 | 17:59 | TUE | PISO 2 FLUJO GAB SECTORES ABC MANIFOLD FIRE MONITOR ZONE FIRE ALARM | Hoja1
330 | 2026-08-04 | 18:01 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL OR ZONE FIRE ALARM | Hoja1
331 | 2026-08-04 | 18:02 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM TUE 04-AUG-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM | Hoja1
333 | 2026-08-04 | 18:05 | TUE | PISO 2 FLUJO SPK SECTORES FGHI MANIFOLD FIRE MONITOR ZONE FIRE ALARM | Hoja1
334 | 2026-08-04 | 18:05 | TUE | PISO 2 FLUJO GAB SECTORES ABC MANIFOLD RE ALARM FIRE MONITOR ZONE FI 18:06:10 TUE 04-AUG-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL E ALARM FIRE MONITOR ZONE FIR | Hoja1
336 | 2026-08-04 | 18:07 | TUE | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | Hoja1
337 | 2026-08-04 | 18:07 | TUE | FIRE ALARMS ACKNOWLEDGED AT NODE 1 S ACKNOWLEDGED AT NODE 1AUG-26 FIRE ALARM DE 1 339 18:06:41 TUE 04-AUG-26 FIRE ALARMS ACKNOWLEDGED AT NO | Hoja1
342 | 2026-08-04 | 18:11 | TUE | PISO 2 FLUJO SPK SECTOR C MANIFOLD FIRE MONITOR ZONE FIRE ALARM | Hoja1
343 | 2026-08-04 | 18:12 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE ALARM FIRE MONITOR ZONE TIDA BOMBA PRINCIPAL TUE 04-AUG-26 SALA DE BOMBAS PAR FIRE MONITOR ZONE FIRE ALARM | Hoja1
345 | 2026-08-04 | 18:14 | TUE | PISO 2 FLUJO SPK SECTOR B MANIFOLD ONITOR ZONE FIRE ALARM 26 PISO 1 FLUJO GAB SECTORES CDEFGHI MANIFO FIRE MONITOR ZONE FIRE ALARM MBA PRINCIPAL 00:25:00 TUE 04-AUG-26 SALA DE BOMBAS PARTIDA BO FIRE MONITOR ZONE FIRE ALARM | Hoja1
348 | 2026-08-04 | 18:23 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM o abortETURN for next Screen OR CTRL-X t | Hoja1
350 | 2026-08-04 | 18:26 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM RY 351 18:27:33 TUE 04-AUG-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM 1 TUE 04-AUG-26 PISO 1 FLUJO SPK SECTORES CHI MANIFOLD FIRE MONITOR ZONE FIRE ALARM CIPAL 353 18:29:29 TUE 04-AUG-26 SALA DE BOMBAS PARTIDA BOMBA PRIN FIRE MONITOR ZONE FIRE ALARM | Hoja1
354 | 2026-08-04 | 18:31 | TUE | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM | Hoja1
355 | 2026-08-04 | 18:41 | TUE | ZOCALO FLUJO GABINETES CDEFGHI MANIFOLD FIRE ALARM MONITOR ZONE 01:59:00 TUE 04-AUG-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM GHI MANIFOLD:42:03 TUE 04-AUG-26 ZOCALO FLUJO GABINETES CDEF FIRE MONITOR ZONE FIRE ALARM | Hoja1
358 | 2026-08-04 | 18:43 | TUE | ZOCALO FLUJO GABINETES CDEFGHI MANIFOLD RM FIRE MONITOR ZONE FIRE ALA MAIN PANEL18:59:28 TUE 04-AUG-26 SYSTEM RESET REQUESTED AT | Hoja1
360 | 2026-08-04 | 19:04 | TUE | SYSTEM RESET REQUESTED AT MAIN PANEL 4-AUG-26 SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
362 | 2026-08-04 | 21:26 | TUE | ALARM SILENCE REQUESTED AT MAIN PANEL | Hoja1
363 | 2026-08-04 | 21:26 | TUE | ALARM SILENCE REQUESTED AT MAIN PANEL | Hoja1
364 | 2026-08-04 | 21:33 | TUE | ALARM SILENCE REQUESTED AT MAIN PANEL REQUESTED AT MAIN PANELE 04-AUG-26 ALARM SILENCE :25 TUE 04-AUG-26 SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
367 | 2026-08-04 | 22:14 | TUE | SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1
368 | 2026-08-05 | 12:42 | WED | ALARM SILENCE REQUESTED AT MAIN PANEL :47:47 WED 05-AUG-26 ZOCALO FLUJO SPK SECTORES C H I MANIFOLD FIRE ALARM NITOR ZONE NELRY 370 12:47:56 WED 05-AUG-26 EXTERNAL ACK REQUESTS SENT AT MAIN PA | Hoja1
371 | 2026-08-05 | 12:48 | WED | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
372 | 2026-08-05 | 12:48 | WED | SYSTEM RESET REQUESTED AT MAIN PANEL WED 05-AUG-26 SYSTEM RESET REQUESTED AT MAIN PANEL TURN for next Screen OR CTRL-X to abort Port | Hoja1
376 | 2026-08-05 | 12:48 | WED | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL GED AT NODE 01:31:00 WED 05-AUG-26 FIRE ALARMS ACKNOWLED WED 05-AUG-26 ZOCALO FLUJO SPK SECTORES C H I MANIFOLD FIRE MONITOR ZONE FIRE ALARM | Hoja1
379 | 2026-08-05 | 12:49 | WED | ZOCALO FLUJO SPK SECTORES C H I MANIFOLD FIRE MONITOR ZONE FIRE ALARM | Hoja1
380 | 2026-08-05 | 12:50 | WED | ZOCALO FLUJO SPK SECTORES F G MANIFOLD FIRE MONITOR ZONE FIRE ALARM UG-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM | Hoja1
382 | 2026-08-05 | 12:51 | WED | SALA DE BOMBAS FLUJO ACTIVO SALA BOMBAS MONITOR ZONE FIRE ALARM 12:51:17 WED 05-AUG-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL FIRE MONITOR ZONE FIRE ALARM | Hoja1
387 | 2026-08-05 | 12:58 | WED | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Hoja1
388 | 2026-08-05 | 12:58 | WED | SYSTEM RESET REQUESTED AT MAIN PANEL AIN PANEL 13:39:50 WED 05-AUG-26 SYSTEM RESET REQUESTED AT M Y 390 12:41:33 FRI 21-AUG-26 PISO 2 ESTAR FUNCIONARIOS PROCEDIMIENTOS SMOKE DETECTOR FIRE ALARM | Hoja1
391 | 2026-08-21 | 12:42 | FRI | FIRE ALARMS ACKNOWLEDGED AT NODE 3 E ALARMS ACKNOWLEDGED AT CRT PORT 1 FIR | Hoja1
393 | 2026-08-21 | 12:42 | FRI | PISO 2 ESTAR FUNCIONARIOS PROCEDIMIENTOS SMOKE DETECTOR FIRE ALARM 6 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL -26 FIRE ALARMS ACKNOWLEDGED AT NODE 1 I 21-AUG-26 PISO 2 BANO AREA ENDOSCOPIA FIRE ALARM N for next Screen OR CTRL-X to abort | Hoja1
397 | 2026-08-21 | 12:45 | FRI | ALARM SILENCE REQUESTED AT MAIN PANEL NTRY 398 12:45:04 FRI 21-AUG-26 ALARM SILENCE REQUESTED AT MAIN PANEL E REQUESTED AT MAIN PANEL 21-AUG-26 ALARM SILENC 21-AUG-26 ALARM SILENCE REQUESTED AT MAIN PANEL 401 12:45:08 FRI 21-AUG-26 ALARM SILENCE REQUESTED AT MAIN PANEL | Hoja1
402 | 2026-08-21 | 12:45 | FRI | ALARM SILENCE REQUESTED AT MAIN PANEL AIN PANEL 12:45:10 FRI 21-AUG-26 ALARM SILENCE REQUESTED AT M 12 FRI 21-AUG-26 ALARM SILENCE REQUESTED AT MAIN PANEL | Hoja1
405 | 2026-08-21 | 12:45 | FRI | ALARM SILENCE REQUESTED AT MAIN PANEL | Hoja1
406 | 2026-08-21 | 12:45 | FRI | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL ELTRY 407 12:45:28 FRI 21-AUG-26 ALARM SILENCE REQUESTED AT MAIN PAN 408 12:45:41 FRI 21-AUG-26 ALARM SILENCE REQUESTED AT MAIN PANEL | Hoja1
410 | 2026-08-21 | 12:45 | FRI | FIRE ALARMS ACKNOWLEDGED AT NODE 1 M RESET REQUESTED AT MAIN PANELG-26 SYSTE AT MAIN PANEL5:55 FRI 21-AUG-26 SYSTEM RESET REQUESTED | Hoja1
409 | 2026-08-21 | 12:46 | FRI | ALARM SILENCE REQUESTED AT MAIN PANEL | Hoja1
413 | 2026-08-21 | 12:56 | FRI | SYSTEM RESET REQUESTED AT MAIN PANEL AUG-26 SYSTEM RESET REQUESTED AT MAIN PANEL | Hoja1

## Resumen
Resumen de organización
Registros únicos recuperados | 235
Fecha inicial | 2026-06-06
Fecha final | 2026-08-21