## Eventos Ordenados
N° Entrada | Fecha | Hora | Ubicación | Dispositivo | Evento | Clasificación | Observación
14 | 2026-06-06 | 13:39:07 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
15 | 2026-06-06 | 13:43:21 | PISO 2 PALANCA PASILLO PENSIONADO | PULL STATION | FIRE ALARM | Alarma de Incendio
16 | 2026-06-06 | 13:43:38 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
17 | 2026-06-06 | 13:43:35 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
18 | 2026-06-06 | 13:43:45 | PISO 2 SALA 205 PENSIONADO | SMOKE DETECTOR | TEST ABNORMAL | Prueba anormal
19 | 2026-06-06 | 13:43:54 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
20 | 2026-06-06 | 13:43:50 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
21 | 2026-06-06 | 13:44:56 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
22 | 2026-06-06 | 13:46:03 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
23 | 2026-06-06 | 13:47:17 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
24 | 2026-06-06 | 13:59:30 | PISO 2 PALANCA PASILLO PONIENTE UNACESS | PULL STATION | FIRE ALARM | Alarma de Incendio
25 | 2026-06-06 | 13:59:32 | PISO 2 PASILLO UNACESS | SMOKE DETECTOR | TEST ABNORMAL | Prueba anormal
26 | 2026-06-06 | 13:59:41 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
27 | 2026-06-06 | 13:59:38 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
28 | 2026-06-06 | 14:01:11 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
29 | 2026-06-06 | 14:09:20 | PISO 2 PASILLO UNACESS | SMOKE DETECTOR | TEST ABNORMAL | Prueba anormal
30 | 2026-06-06 | 14:09:26 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
31 | 2026-06-06 | 14:09:24 |  |  | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Alarma de Incendio
32 | 2026-06-06 | 14:09:34 | PISO 2 PASILLO UNACESS | SMOKE DETECTOR | TEST ABNORMAL | Prueba anormal
33 | 2026-06-06 | 14:09:40 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
34 | 2026-06-06 | 14:09:42 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
35 | 2026-06-06 | 14:09:38 |  |  | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Alarma de Incendio
36 | 2026-06-06 | 14:10:32 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
37 | 2026-06-06 | 14:12:34 | PISO 2 PASILLO AREA PROCEDIMIENTOS | SMOKE DETECTOR | TEST ABNORMAL | Prueba anormal
38 | 2026-06-06 | 14:12:42 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
39 | 2026-06-06 | 14:12:40 |  |  | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Alarma de Incendio
40 | 2026-06-06 | 14:12:44 | PISO 2 SALA ESPERA AREA PROCEDIMIENTOS | SMOKE DETECTOR | TEST ABNORMAL | Prueba anormal
41 | 2026-06-06 | 14:12:49 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
42 | 2026-06-06 | 14:12:50 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
43 | 2026-06-06 | 14:12:53 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
44 | 2026-06-06 | 14:12:47 |  |  | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Alarma de Incendio
45 | 2026-06-06 | 14:13:08 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
46 | 2026-06-06 | 14:16:29 | PISO 2 SALA ESPERA TOMA MUESTRA | SMOKE DETECTOR | TEST ABNORMAL | Prueba anormal
47 | 2026-06-06 | 14:16:35 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
48 | 2026-06-06 | 14:16:36 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 3 | Alarma de Incendio
49 | 2026-06-06 | 14:16:33 |  |  | FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1 | Alarma de Incendio
50 | 2026-06-06 | 14:16:41 | PISO 2 PALANCA PASILLO TOMA MUESTRAS | PULL STATION | FIRE ALARM | Alarma de Incendio
51 | 2026-06-06 | 14:17:00 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
52 | 2026-06-06 | 14:17:00 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
53 | 2026-06-06 | 14:16:56 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
54 | 2026-06-06 | 14:17:21 | PISO 2 PALANCA PASILLO TOMA MUESTRAS | PULL STATION | FIRE ALARM | Alarma de Incendio
55 | 2026-06-06 | 14:17:33 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
56 | 2026-06-06 | 14:17:29 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
57 | 2026-06-06 | 14:17:44 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
58 | 2026-06-06 | 14:26:45 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema
59 | 2026-06-06 | 16:01:34 | PISO 1 FLUJO SPK SECTORES DE MANIFOLD | FIRE MONITOR ZONE | FIRE ALARM | Alarma de Incendio
60 | 2026-06-06 | 16:01:57 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
61 | 2026-06-06 | 16:01:54 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
62 | 2026-06-06 | 16:01:57 | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL | FIRE MONITOR ZONE | FIRE ALARM | Alarma de Incendio
63 | 2026-06-06 | 16:02:03 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
64 | 2026-06-06 | 16:02:00 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
65 | 2026-06-06 | 16:04:16 | PISO 1 FLUJO SPK SECTOR A MANIFOLD | FIRE MONITOR ZONE | FIRE ALARM | Alarma de Incendio
66 | 2026-06-06 | 16:04:29 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
67 | 2026-06-06 | 16:04:26 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
68 | 2026-06-06 | 16:04:53 | SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL | FIRE MONITOR ZONE | FIRE ALARM | Alarma de Incendio
69 | 2026-06-06 | 16:05:06 | MAIN PANEL |  | EXTERNAL ACK REQUESTS SENT AT MAIN PANEL | ACK externo
70 | 2026-06-06 | 16:05:03 |  |  | FIRE ALARMS ACKNOWLEDGED AT NODE 1 | Alarma de Incendio
71 | 2026-06-06 | 16:22:12 | MAIN PANEL |  | SYSTEM RESET REQUESTED AT MAIN PANEL | Reinicio del sistema

## Resumen
Clasificación | Cantidad
Alarma de Incendio | 31
Reinicio del sistema | 10
ACK externo | 10
Prueba anormal | 7

## Fuente original
Texto original
ENTRY 14 13:39:07 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 15 13:43:21 SAT 06-JUN-26 PISO 2 PALANCA PASILLO PENSIONADO
PULL STATION FIRE ALARM
ENTRY 16 13:43:38 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 17 13:43:35 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 18 13:43:45 SAT 06-JUN-26 PISO 2 SALA 205 PENSIONADO
SMOKE DETECTOR TEST ABNORMAL
ENTRY 19 13:43:54 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 20 13:43:50 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 21 13:44:56 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 22 13:46:03 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 23 13:47:17 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 24 13:59:30 SAT 06-JUN-26 PISO 2 PALANCA PASILLO PONIENTE UNACESS
PULL STATION FIRE ALARM
ENTRY 25 13:59:32 SAT 06-JUN-26 PISO 2 PASILLO UNACESS
SMOKE DETECTOR TEST ABNORMAL
ENTRY 26 13:59:41 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 27 13:59:38 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 28 14:01:11 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 29 14:09:20 SAT 06-JUN-26 PISO 2 PASILLO UNACESS
SMOKE DETECTOR TEST ABNORMAL
ENTRY 30 14:09:26 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 31 14:09:24 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1
ENTRY 32 14:09:34 SAT 06-JUN-26 PISO 2 PASILLO UNACESS
SMOKE DETECTOR TEST ABNORMAL
ENTRY 33 14:09:40 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 34 14:09:42 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 35 14:09:38 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1
ENTRY 36 14:10:32 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 37 14:12:34 SAT 06-JUN-26 PISO 2 PASILLO AREA PROCEDIMIENTOS
SMOKE DETECTOR TEST ABNORMAL
ENTRY 38 14:12:42 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 39 14:12:40 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1
ENTRY 40 14:12:44 SAT 06-JUN-26 PISO 2 SALA ESPERA AREA PROCEDIMIENTOS
SMOKE DETECTOR TEST ABNORMAL
ENTRY 41 14:12:49 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 42 14:12:50 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 43 14:12:53 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 44 14:12:47 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1
ENTRY 45 14:13:08 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 46 14:16:29 SAT 06-JUN-26 PISO 2 SALA ESPERA TOMA MUESTRA
SMOKE DETECTOR TEST ABNORMAL
ENTRY 47 14:16:35 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 48 14:16:36 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 3
ENTRY 49 14:16:33 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT CRT PORT 1
ENTRY 50 14:16:41 SAT 06-JUN-26 PISO 2 PALANCA PASILLO TOMA MUESTRAS
PULL STATION FIRE ALARM
ENTRY 51 14:17:00 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 52 14:17:00 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 53 14:16:56 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 54 14:17:21 SAT 06-JUN-26 PISO 2 PALANCA PASILLO TOMA MUESTRAS
PULL STATION FIRE ALARM
ENTRY 55 14:17:33 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 56 14:17:29 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 57 14:17:44 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 58 14:26:45 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL
ENTRY 59 16:01:34 SAT 06-JUN-26 PISO 1 FLUJO SPK SECTORES DE MANIFOLD
FIRE MONITOR ZONE FIRE ALARM
ENTRY 60 16:01:57 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 61 16:01:54 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 62 16:01:57 SAT 06-JUN-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL
FIRE MONITOR ZONE FIRE ALARM
ENTRY 63 16:02:03 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 64 16:02:00 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 65 16:04:16 SAT 06-JUN-26 PISO 1 FLUJO SPK SECTOR A MANIFOLD
FIRE MONITOR ZONE FIRE ALARM
ENTRY 66 16:04:29 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 67 16:04:26 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 68 16:04:53 SAT 06-JUN-26 SALA DE BOMBAS PARTIDA BOMBA PRINCIPAL
FIRE MONITOR ZONE FIRE ALARM
ENTRY 69 16:05:06 SAT 06-JUN-26 EXTERNAL ACK REQUESTS SENT AT MAIN PANEL
ENTRY 70 16:05:03 SAT 06-JUN-26 FIRE ALARMS ACKNOWLEDGED AT NODE 1
ENTRY 71 16:22:12 SAT 06-JUN-26 SYSTEM RESET REQUESTED AT MAIN PANEL